## Slide 1: Storage for the DBA
Denny Cherry
Senior Database Administrator / Architect
Awareness Technologies
dcherry@awarenesstech.com
Microsoft MVP – SQL Server
Quest Software SQL Server MVP
MCSA, MCDBA, MCTS, MCITP

## Slide 2: Storage Terminology
LUN = Logical Unit Number
Host = The Server or Servers a LUN is presented to
SAN = Storage Area Network
Fabric = Fibre network which makes up the SAN
Disk = How the OS sees a LUN when presented
Spindle = Physical disks in the Storage Array
IOps = Reads and Writes per Second
Sequential IO = Reads or writes which are sequential on the spindle
Random IO = Reads or writes which are located at random positions on the spindle

## Slide 3: Cache Setup
OLTP databases make poor use of SAN read cache
OLAP databases make good use of SAN read cache
Try reducing read cache and increasing write cache
OLTP databases with high buffer cache hit ratios may be able to have the read cache disabled
There is no one correct setup. Every system is different.

## Slide 4: Disk Alignment
Can improve SQL disk performance up to 100%
(64 1k blocks/64k IO)=100% of IO is impacted
Windows 2000 – Diskpar
Windows 2003+ - Diskpart
Windows 2008 - Automatic
Must be done before data is put on the disk

## Slide 5: Physical Storage
Fibre Channel over SCSI
SCSI over SATA
RAID 1, 0+1, 10 for Transaction Logs
RAID 1, 0+1, 10 for TempDB
RAID 5, 6 or 10 for data files
Tiered Storage
(Pretty picture on the next slide)

## Slide 7: Denny Cherry
dcherry@awarenesstech.com
http://itke.techtarget.com/sql-server